## Slide 1: Stability of coupled synchronous generators
Elad Venezian
Under the supervision of Prof. George Weiss

## Slide 2: Introduction
~150 years of electricity grid.
The electricity grid become more and more dependent on inverters.
The main power source of the electricity gird is the Synchronous Generator (SG).
The frequency stability concept.
This work discuss single generator connected to an infinite bus, and Two Identical Coupled SGs (TICSG).

## Slide 3: Agenda
One SG connected to an infinite bus.
Models.
Fourth order SG model.
The improved swing equation model.
The classic swing equation model.
Equilibrium points analysis.
Relation between the forth order model and the improved swing equation model.
Simulations
Two identical coupled SGs.

## Slide 4: SG modeling

## Slide 5: SG modeling
In steady state, we expect to have sinusoidal voltages and currents.
To simplify the stability analysis, we use the Park transformation of the voltages and currents, that maps sinusoidal signals into a fixed point in the state space.
=

## Slide 6: SG modeling
Assuming constant .
This model depends on .
Prime mover torque is

## Slide 7: The improved swing equation model
(Monshizadeh et al(2016), Zhou and Ohsawa (2009)
The mechanical dynamics of SG is:
Assuming that
and
SG dynamics can be rewritten as:

## Slide 8: The classical swing equation model
(Monshizadeh et al(2016), Machowski at el (2009)
Approximate:
and
SG dynamics can be rewritten as:

## Slide 9: Single SG connected to an infinite bus:
Infinite bus is modeled as a three state phase AC voltage source.
=, -V where -.
We refer this fourth order nonlinear dynamical system as the fourth order model (FOM).

## Slide 10: Single SG connected to an infinite bus: (ISE)
We refer this fourth order nonlinear dynamical system as the Improved Swing Equation (ISE).
The classical model becomes:

## Slide 11: Equilibrium points
FOM model:
=0
Where
ISE model:
- Both models can have one, two or zero equilibrium point.

## Slide 12: Model reduction
The FOM:
It can be rewritten as:
, ,
Solve yields

## Slide 13: Model reduction
Substitute it into
This model is known as the improved swing equation (ISE), (Monshizadeh et al(2016), Zhou and Ohsawa (2009).

## Slide 14: Simulations
5 KW SG

## Slide 15: Simulations
1 MW SG

## Slide 16: Simulations
Non stable example

## Slide 17: Simulations
Different region of attraction

## Slide 18: Two Identical Coupled SGs (TICSG).

## Slide 19
TICSG:
can be added to and .
Note that each SG vectors depends on different .
,

## Slide 20
TICSG:
,
+

## Slide 21
TICSG:
Proposition 1:The TICSG system is forward complete, i.e. for any initial state , the (unique) solution of the TICSG system is defined for all .
The proof use the boundedness of the energy of the system:
Proposition 2: We work with the function V from above. For all sufficiently large, the set is invariant under the flow of the TICSG system.
- New state space , with the natural mapping from to .
Now is a compact invariant set for the TICSG system in the state space .

## Slide 22
The equilibrium points of the TICSG model:
- The synchronization subspace
The anti-synchronization subspace
Proposition: Any equilibrium point for the TICSG system in is either in or in ’ .
Proposition: The TICSG system has at least one equilibrium point on synchronization subspace .

## Slide 23
The stability of the TICSG system:
The TICSG system:
It can be rewritten as:
,